## Instructions
Instructions
1. Perform MR scan and determine the ROI
2. Type the data sets from the MRI to the heart or liver spread-sheet in the blue box. Please note that the spreadsheet cannot include more than 12 data sets
3. Decide on the the number of data sets to include in the analysis (cell Q2). The number cannot be higher than the number of data sets (shown in cell Q1)
4. The T2*, R2* and MIC/LIC are automatically calculated from the data sets included in the analyses
5. Hit the print button if you would like to print a report
6. The heart or the liver chart can be viewed full screen and printed full screen from the heart and liver plot charts
Contributors and contacts
Juliano Lara Fernandes |  |  | jlaraf@terra.com.br | Jose Michel Kalaf Research Institute
Version | 3.1 | 2017-06-18

## Heart
Heart | [11 empty] | Number of data sets |  | 12
[12 empty] | Number of data points for calculations |  | 12 | ←This number cannot be higher than the number of data sets
Data set | TE | ROI | [9 empty] | R-SQ | 0.8824
1 | 1.18 | 165
2 | 2.15 | 156
3 | 3.3 | 148
4 | 4.1 | 140
5 | 5.5 | 129
6 | 6.2 | 120
7 | 7.8 | 112
8 | 9 | 106
9 | 10 | 100
10 | 12 | 80
11 | 14 | 50
12 | 16 | 30
| T2* | 9.9787 | ms
| R2* | 100.2131 | Hz
| MIC | 2.7186 | mg/g
MIC calculation according to: Carpenter JP, et al. Circulation. 2011;123:1519-28
T2* | Normal | >20 | T2* | Light | 15-20 | T2* | Moderate | 10-15 | T2* | Severe | <10
R2* | Normal | <50 | R2* | Light | 50-66.5 | R2* | Moderate | 66.6-100 | R2* | Severe | >100
MIC | Normal | <1.16 | MIC | Light | 1.16-1.65 | MIC | Moderate | 1.65-2.71 | MIC | Severe | >2.71
Regression Summary
| Number of data sets: |  |  |  | 12
| Number of data sets included in analysis: |  |  |  | 12
| R-squared value: |  |  |  | 0.8824

## Liver
LIVER | [11 empty] | Number of data sets |  | 12
[12 empty] | Number of data points for calculations |  | 12 | ←This number cannot be higher than the number of data sets
Data set | TE | ROI | [9 empty] | R-SQ | 0.96929
1 | 1 | 134
2 | 3 | 114
3 | 3.5 | 99
4 | 4 | 81
5 | 4.5 | 70
6 | 5 | 59
7 | 5.5 | 49
8 | 8 | 40
9 | 9 | 35
10 | 10 | 28
11 | 12 | 20
12 | 15 | 15
| T2* | 6.0501 | ms
| R2* | 165.2864 | Hz
| LIC | 5.1479 | mg/g
LIC calculation according to: Garbowski MW et al. JCMR 2014;16:40-51.
T2* | Normal | >15.4 | T2* | Light | 4.5 - 15.4 | T2* | Moderate | 2.1-4.5 | T2* | Severe | <2.1
R2* | Normal | <65 | R2* | Light | 65-224 | R2* | Moderate | 224-475 | R2* | Severe | >475
LIC | Normal | <2 | LIC | Light | 2-7 | LIC | Moderate | 7-15 | LIC | Severe | >15
Regression Summary
| Number of data sets: |  |  |  | 12
| Number of data sets included in analysis: |  |  |  | 12
| R-squared value: |  |  |  | 0.96929

## Calculations (hidden)
| Heart | 7 |  |  | Liver | 12
Data set | TE | ROI |  |  | TE | ROI
1 | 1.18 | 5.1059 |  |  | 1 | 4.8978
2 | 2.15 | 5.0499 | Slope | -0.10021 | 3 | 4.7362 | Slope | -0.16529
3 | 3.3 | 4.9972 |  |  | 3.5 | 4.5951
4 | 4.1 | 4.9416 | AreaX | B3:B14 | 4 | 4.3944 | AreaX | G3:G14
5 | 5.5 | 4.8598 | AreaY | C3:C14 | 4.5 | 4.2485 | AreaY | H3:H14
6 | 6.2 | 4.7875 | RSQ | 0.8824 | 5 | 4.0775 | RSQ | 0.96929
7 | 7.8 | 4.7185 |  |  | 5.5 | 3.8918
8 | 9 | 4.6634 |  |  | 8 | 3.6889
9 | 10 | 4.6052 |  |  | 9 | 3.5553
10 | 12 | 4.382 |  |  | 10 | 3.3322
11 | 14 | 3.912 |  |  | 12 | 2.9957
12 | 16 | 3.4012 |  |  | 15 | 2.7081